APNRL/PT-JBVNL/FY22-23/1408						Date – 11.11.2022

To,

The Secretary

Jharkhand State Electricity Regulatory Commission

1st Floor, Jharkhand State Housing Board Old Building

Harmu housing Colony, Ranchi

Sub:	Additional data requirement pertaining to deficiencies observed in the petition for True-up of FY 2016-17 and APR FY 2017-18 of Adhunik Power and Natural Resources Ltd.

Ref:	Your letter JSERC/Case(Tariff) No. 02 of 2018/166 dated 21.09.2022

Respected Sir,

This is with reference to the above referred letter regarding submission of additional data requirements pertaining to APNRL’s True-up for FY 2016-17 and APR FY 2017-18. We hereby enclose herewith our response to the same.

Request you to kindly acknowledge the receipt of the same.

Thanking You,

Sincerely,

For and on behalf of Adhunik Power and Natural Resources Limited

Eshan Singh

Authorised Signatory

APNRL’s replies on the queries received from Hon’ble Jharkhand State Electricity Regulatory Commission in matter of APNRL’s Petitions for True-up of FY 2016-17 and APR for FY 2017-18

INDEX

| Sr. No. | Particulars | Page No |
| --- | --- | --- |
| 1 | APNRL’s replies on the queries received from Hon’ble Jharkhand State Electricity Regulatory Commission in matter of APNRL’s Petitions for True-up of FY 2016-17 and APR for FY 2017-18 | 2-10 |
| 2 | Annexure 1- Authorization letter | 11 |
| 3 | Annexure 2- Evidence for revenue claimed towards, AFC, EC and FPA | 12 |
| 4 | Annexure 3- Working of weighted average interest rate for FY 2017-18 | 13 |

APNRL’s replies on the queries received from Hon’ble Jharkhand State Electricity Regulatory Commission in matter of APNRL’s Petitions for True-up of FY 2016-17 and APR for FY 2017-18

- General

- Query: The True-up and ARR Formats in Microsoft Excel with proper linkages and formulae has not been submitted. The Petitioner is required to submit ARR formats in Microsoft Excel with proper linkages.

Reply: True-up and ARR formats in Microsoft Excel with proper linkages and formulae are enclosed.

- Query: The Petitioner should submit authorization from the Board of Directors by a specific / general resolution authorizing the representative Mr. Eshan Sigh (Deputy Manager) to sign the Petition as the Petition is not signed by the Managing Director / Director of the company as per Regulation 12.5 of JSERC (Conduct of Business) Regulation, 2016.

Reply: Authorization letter for Mr. Eshan Singh are enclosed as Annexure 1

- True-Up 2016-17

- Query: Total sales claimed as 962.42 MU as per the Petition does not match with quantum of power injected provided in the SLDC’S Availability Report as 962.55 MU. The Petitioner should provide appropriate justification for the mismatch.

Reply: Justification for mismatch between total sale Vs power injected as per SLDC’s Availability report is mentioned below:

As per the PPA terms & conditions Delivery Point is considered as 400 KV substation of PGCIL. Accordingly, APNRL raised the Energy Blls considering the applicable POC injection losses over the montly REA scheduled published by ERLDC. Based on which the power supply to JBVNL during the FY 2016-17 was 962.42 MU.

Further, we understand that SLDC issued the certificate based on its System Report and the same is adjusted with applicable POC withdrawal loss of Jharkhand & injection loses of APNRL. Hence there could be a gap of approximately 0.13 MU.

Accordingly, month-wise details of billed quantum of power as follows:

| Quantum Mentioned in REA | POC injection loss | Quantum Billed by APNRL |
| --- | --- | --- |
| kWh | % | kWh |
| 7,97,72,602 | 0.877 | 8,04,78,386 |
| 8,86,84,904 | 0.796 | 8,93,96,886 |
| 8,77,86,841 | 0.752 | 8,84,52,000 |
| 8,58,44,530 | 0.786 | 8,65,24,940 |
| 7,04,94,558 | 0.805 | 7,10,66,755 |
| 8,04,90,371 | 0.873 | 8,11,99,601 |
| 7,17,37,143 | 0.875 | 7,23,70,066 |
| 7,62,83,166 | 0.729 | 7,68,43,020 |
| 8,16,77,334 | 0.978 | 8,24,83,754 |
| 8,45,87,194 | 1.084 | 8,55,14,130 |
| 7,11,50,673 | 1.085 | 7,19,31,156 |
| 7,54,16,976 | 0.982 | 7,61,64,690 |
| 95,39,26,293 | 0.877 | 96,24,25,385 |

- Query: Capital addition of Rs. 1.509 Crore is claimed for FY 2016-17, which is after the Cut-off date. The Petitioner should submit the reason for addition of the assets and the provision(s) of Regulation 7.6 of JSERC Generation Tariff Regulation, 2015 under which such addition has been claimed.

Reply: Justification for Capital addition of Rs. 1.509 Crore as claimed for FY 2016-17 is mentioned below:

| Sl No | Asset Head | Value (Rs. Cr) | Debt Component (Rs. Cr) (70%) | Equity Component (Rs. Cr) (30%) | Reason for Addition (as per Regulation 7.6 of JSERC Generation Tariff Regulation, 2015 |
| --- | --- | --- | --- | --- | --- |
| 1 | Oil handling system, Air compressor system and Other Plant & Machineries | 0.83 | 0.58 | 0.25 | Additional expenditure incurred for ensuing smooth handling of oil and protect wear and tear of Air compressor system which are nodal for consistent operation of the generating station. Therefore, the Hon'ble Commission may be pleased to allow this expenditure under Regulation 7.6 (iv) of JSERC Tariff Regulations 2015. |
| 2 | Civil Work and Infrastructure | 0.53 | 0.37 | 0.16 | Petitioner has incurred expenditure of Rs. 0.5 Crore for increasing/strengthening the capacity of Ash Dyke. Which was essential for smooth running of plant and Rs 0.50 crore. Accordingly, this expenditure on account of ash dyke development may be please allowed by this Hon’ble Commission under Regulation 7.6 (iv) of JSERC Tariff Regulations 2015. |
| 3 | IT Equipment | 0.09 | 0.06 | 0.03 | This expenditure was incurred for the replacement of Laptop, printers, UPS etc. provided for routine office work. These expenditure were necessary for managing efficient and successful administration of the generating station. Therefore, this expenditure on IT Equipments may be please allowed by this Hon’ble Commission under Regulation 7.6 (iv) of JSERC Tariff Regulations 2015. |
| 4 | Self-propelled vehicles | 0.07 | 0.05 | 0.02 | Vehicles have been purchased for commuting at the plant visit, which is necessary for efficient and successful management of the station. Therefore, this Hon'ble Commission may be please to allow this expenditure under Regulation 7.6 (iv) of JSERC Tariff Regulations 2015. |
| Total |  | 1.509 | 1.06 | 0.45 |  |

- Query: “Any other Asset” is depreciated at 3.34% in the Petition while the same is depreciated at 5.28% in the formats submitted. Petitioner should provide details of the Other assets and reconcile its claim.

Reply: The Petitioner submits that the inadvertent error in petition may kindly be ignored. As per the JSERC (Terms and Conditions for Determination of Generation Tariff), Regulation, 2015, Appendix-I, Depreciation Schedule, any other assets which are not covered in the regulation should be depreciated at 5.28%. The correct grouping of assets and detail of any other assets which is depreciated at the rate of 5.28% is also shown below.

| Sl No | Asset Class Description | Asset Class Depreciation Rate | Unit 1 |  | Unit 2 |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Approved as per order dt. 19.02.18 (Rs. Crore) | True-Up Petition (Rs. Crore) | Approved as per order dt. 19.02.18 (Rs. Crore) | True-Up Petition (Rs. Crore) |
| 1 | Land owned under full title | 0.00% | 0.00 | 0.00 | 0.00 | 0.00 |
| 2 | Land held under lease | 3.34% | 0.37 | 0.37 | 0.37 | 0.37 |
| 3 | Plant and machinery in generating stations including plantations | 5.28% | 74.38 | 74.63 | 75.20 | 75.36 |
| 4 | Building & civil engineering works of a permanent character, not mentioned above: | 3.34% | 7.25 | 7.11 | 7.21 | 7.11 |
| 5 | Self-propelled vehicles | 5.28% | 0.00 | 0.07 | 0.00 | 0.07 |
| 6 | Office furniture and fittings | 5.28% | 0.00 | 0.06 | 0.00 | 0.06 |
| 7 | Office equipments | 5.28% | 0.00 | 0.04 | 0.00 | 0.04 |
| 8 | IT equipments | 15.00% | 0.00 | 0.43 | 0.00 | 0.43 |
| 9 | Any other assets not covered above | 5.28% | 0.37 | 0.05 | 0.37 | 0.05 |
| Total |  |  | 82.37 | 82.75 | 83.15 | 83.49 |

| Details of any other assets |  |  |  |  |
| --- | --- | --- | --- | --- |
| Sl No | Assets | Asset Class Depreciation Rate | Unit 1 (Rs. Crore) | Unit 2 (Rs. Crore) |
| 1 | Goodwill | 5.28% | 0.05 | 0.05 |

Accordingly, APNRL request the Hon’ble Commission to consider the depreciation as mentioned above.

- Query: The Petitioner should provide the computation for Weighted Average Interest Rate on the basis of opening loan balance of each loan and corresponding interest rate applicable for FY 2016-17 as per Regulation 7.23 of JSERC Generation Tariff Regulation, 2015.

Reply: Computation for Weighted Average Interest rate for FY 2016-17 is shown below:

| Unit 1 |  |  |  |  |
| --- | --- | --- | --- | --- |
| Sl No. | Lender | Average loan (a) (Rs. Crore) | Interest Rate (b) | (a) x (b) |
| 1 | Allahabad Bank | 100.43 | 12.94% | 13.00 |
| 2 | Indian Overseas Bank | 40.51 | 12.55% | 5.09 |
| 3 | State Bank of Bikaner and Jaipur | 16.57 | 12.70% | 2.10 |
| 4 | UCO Bank | 55.48 | 12.55% | 6.96 |
| 5 | Bank of India | 33.27 | 12.67% | 4.21 |
| 6 | Oriental Bank of Commerce | 25.60 | 12.42% | 3.18 |
| 7 | Punjab National Bank | 58.38 | 14.84% | 8.66 |
| 8 | Punjab & Sind Bank | 23.46 | 13.02% | 3.05 |
| 9 | State Bank of India | 125.82 | 12.44% | 15.65 |
| 10 | State Bank of Patiala | 31.73 | 12.59% | 4.00 |
| 11 | State Bank of Travancore | 21.72 | 12.94% | 2.81 |
| 12 | United Bank of India | 49.89 | 13.32% | 6.65 |
| 13 | ICICI Bank | 34.23 | 12.62% | 4.32 |
| 14 | IIFCL | 594.08 | 11.24% | 66.78 |
| 15 | IFCI Limited | 155.22 | 14.45% | 22.43 |
| Total |  | 1366.40 |  | 168.89 |
| Weighted Average Interest rate |  |  |  | 12.36% |

| Unit 2 |  |  |  |  |
| --- | --- | --- | --- | --- |
| Sl No. | Lender | Average loan (a) (Rs. Crore) | Interest Rate (b) | (a) x (b) |
| 1 | Allahabad Bank | 66.78 | 12.66% | 8.45 |
| 2 | Dena Bank | 70.34 | 12.95% | 9.11 |
| 3 | Punjab & Sind Bank | 25.72 | 12.70% | 3.27 |
| 4 | Punjab National Bank | 29.61 | 14.78% | 4.38 |
| 5 | State Bank of Patiala | 21.76 | 12.72% | 2.77 |
| 6 | State Bank of Travancore | 34.06 | 12.88% | 4.39 |
| 7 | State Bank of Bikaner & Jaipur | 28.56 | 12.99% | 3.71 |
| 8 | Bank of India | 33.60 | 12.70% | 4.27 |
| 9 | United Bank of India | 43.23 | 13.30% | 5.75 |
| 10 | State Bank of India | 186.81 | 12.51% | 23.37 |
| 11 | State Bank of India - Additional | 21.60 | 13.69% | 2.96 |
| 12 | Bank of Baroda | 60.39 | 11.98% | 7.24 |
| 13 | Union Bank | 91.19 | 12.97% | 11.83 |
| 14 | State Bank of Hyderabad | 37.31 | 12.14% | 4.53 |
| 15 | Bank of Maharashtra | 45.33 | 12.51% | 5.67 |
| 16 | Andhra Bank | 27.67 | 13.61% | 3.77 |
| 17 | PTC India Financial Services Ltd | 27.26 | 12.62% | 3.44 |
| 18 | Life Insurance Corporation | 100.97 | 10.88% | 10.98 |
| 19 | ICICI Bank | 78.58 | 12.60% | 9.90 |
| 20 | IFCI Limited | 62.30 | 14.45% | 9.00 |
| Total |  | 1093.07 |  | 138.77 |
| Weighted Average Interest rate |  |  |  | 12.70% |

Accordingly, APNRL request the Hon’ble Commission to consider the Weighted Average Interest Rate as mentioned above for FY 2016-17.

- Query: The Petitioner should provide justification for the increased Y-o-Y escalation claimed at 6.30% against the Commission approved rate 4.93%.

Reply: As per Regulation 7.44 of the JSERC (Terms and Conditions for Determination of Generation Tariff), Regulation, 2015, the Hon’ble Commission has provided the norms for O&M expenses (in Rs. Lakh / MW) for new thermal generating stations. The aforesaid regulation is reproduced here in below for reference:

“ 7.44 The O&M expenses (in Rs lakhs/ MW) permissible towards determination of tariff for Coal and Lignite fired (including those based on CFBC technology) shall be as follows:

| Year | 200/210/250 MW series | 300/330/350 MW series | 500 MW sets | 600 MW and above sets |
| --- | --- | --- | --- | --- |
| 2016-17 | 27.0 | 22.5 | 18.1 | 16.3 |
| 2017-18 | 28.7 | 24.0 | 19.2 | 17.3 |
| 2018-19 | 30.5 | 25.5 | 20.4 | 18.4 |
| 2019-20 | 32.4 | 27.1 | 21.7 | 19.5 |
| 2020-21 | 34.5 | 28.8 | 23.1 | 20.8 |

The Generation Tariff Regulation, 2015 do not specify any norms specifically for 270 MW sets. Accordingly, the Petitioner had considered the Y-o-Y escalation based on the norms specified for 200/210/250 MW sets which is nearest capacity range as provided by Hon’ble Commission. The derivation for Y-o-Y escalation is shown below:

| Year | 200/210/250 MW series | Escalation |
| --- | --- | --- |
| 2016-17 | 27.0 |  |
| 2017-18 | 28.7 | 6.30% |
| 2018-19 | 30.5 | 6.31% |
| 2019-20 | 32.4 | 6.29% |
| 2020-21 | 34.5 | 6.32% |
| Average Escalation |  | 6.30% |

Accordingly, APNRL request the Hon’ble Commission to consider the Operation & Maintenance cost escalations as worked out above for tariff purposes.

- Query: The revenue claimed towards AFC, EC, and FPA by the Petition from JBVNL is not substantiated by documentary evidence. The Petitioner should submit the same duly certified by its Statutory Auditor.

Reply: Complete computation of AFC, EC & FPA calculation has been provided along with the CA Certificates in page no. 85, 86, 91 to 99, 131 &132 of the Petition.

However, as required by this Hon’ble Commission, the Petitioner is arranging the Statutory Auditor’s Certificate for the same, and will submit shortly.

- Query: The Petitioner should submit the calculation for Incentive of Rs. 2.38 Crore claimed for FY 2016-17.

Reply: The regulation for computation of incentive is reproduced here in below:

“8.15 Incentive to a generating station or unit thereof shall be payable at a flat rate of 50 paise /kWh for ex-bus scheduled energy corresponding to scheduled generation in excess of ex-bus energy corresponding to Normative Annual Plant Load Factor (NAPLF).”

Accordingly, the Petitioner has calculated the Incentive of Rs. 2.38 Crore for FY 2016-17, the detail calculation is shown below:

| Sl No. | Particulars | Derivations | UoM | Unit 1 | Unit 2 |
| --- | --- | --- | --- | --- | --- |
| 1 | NPLF |  | % | 85% | 85% |
| 2 | Net Energy Supplied to JUVNL/JBVNL (Delivery point) |  | MU | 481.21 | 481.21 |
| 3 | Power to be supplied as per PPA |  | MW | 61.43 | 61.43 |
| 4 | Ex-Bus Energy corresponding to NAPLF | (3)x(1)x8.76 | MU | 457.37 | 457.37 |
| 5 | Excess schedule generation | (2)-(4) | MU | 23.84 | 23.84 |
| 6 | Flat rate for Incentive (As per regulation |  | Rs./kWh | 0.5 | 0.5 |
| 7 | Incentive | (5)x(6) | Rs. Crore | 1.19 | 1.19 |
| 8 | Total |  | Rs. Crore | 2.38 |  |

- APR for FY 2017-18

- Query: The Petitioner should justify the reduced generation from Unit 2 for FY 2017-18 as it is lesser than the normative values. The Petitioner should also justify the high variation in total energy generated by the two units.

| Parameter | U1 |  |  | U2 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Normative | Petition | Difference | Normative | Petition | Difference |
| Gross Generation (MU) | 2010 | 2078 | 68 | 2010 | 877 | -1133 |
| Net Generation (MU) | 1829 | 1891 | 62 | 1829 | 798 | -1031 |
| Difference between Net Generation of Unit 1 and Unit 2 (MU) |  |  |  |  |  | 1093 |

Reply: On 07.09.2017, Unit 2 tripped due to Generator Rotor fault which resulted in the long outage of Unit 2. After maintenance of rotor, Unit-2 was Synchronized on 24.04.2018 at 17.26 Hrs. Therefore, the generation of unit 2 is lesser that the normative values during FY 2017-18, also it is reflected on the difference between net generation of Unit-1 and Unit-2

- Query: The Petitioner has submitted that it has considered the Coal Mix, Cost of Coal and GCV as incurred for the period of April 2017 to February 2018. The Petitioner should submit the break-up of the same in the format submitted as Annexure 1 along with the Petition.

Reply: The Petitioner submits that, all the details have been submitted as part of True up of 2017-18 in a subsequent petition which is subjudice before this Hon’ble Commission. It is therefore requested that the same may be considered in the final true-up only.

- Query: “Any other Asset” is depreciated at 3.34% in the Petition while the same is depreciated at 5.28% in the formats submitted. Petitioner should provide details of the Other assets and reconcile its claim.

Reply: The Petitioner submits that the inadvertent error in Petition may kindly be ignored. As per the JSERC (Terms and Conditions for Determination of Generation Tariff), Regulation, 2015, Appendix-I, Depreciation Schedule, any other assets which are not covered in the regulation should be depreciated at 5.28%. The correct grouping of assets and  detail of any other assets which is depreciated at the rate of 5.28% is also shown below.

| Sl No | Asset Class Description | Asset Class Depreciation Rate | Unit 1 |  | Unit 2 |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Approved as per order dt. 19.02.18 (Rs. Crore) | APR(Rs. Crore) | Approved as per order dt. 19.02.18 (Rs. Crore) | APR (Rs. Crore) |
| 1 | Land owned under full title | 0.00% | 0.00 | 0.00 | 0.00 | 0.00 |
| 2 | Land held under lease | 3.34% | 0.37 | 0.37 | 0.37 | 0.37 |
| 3 | Plant and machinery in generating stations including plantations | 5.28% | 74.38 | 74.64 | 75.20 | 75.38 |
| 4 | Building & civil engineering works of a permanent character, not mentioned above: | 3.34% | 7.25 | 7.11 | 7.21 | 7.11 |
| 5 | Self-propelled vehicles | 5.28% | 0.00 | 0.06 | 0.00 | 0.06 |
| 6 | Office furniture and fittings | 5.28% | 0.00 | 0.06 | 0.00 | 0.06 |
| 7 | Office equipment | 5.28% | 0.00 | 0.04 | 0.00 | 0.04 |
| 8 | IT equipment | 15.00% | 0.00 | 0.43 | 0.00 | 0.43 |
| 9 | Any other assets not covered above | 5.28% | 0.37 | 0.05 | 0.37 | 0.05 |
| Total |  |  | 82.37 | 82.77 | 83.15 | 83.51 |

| Details of any other assets |  |  |  |  |
| --- | --- | --- | --- | --- |
| Sl No | Assets | Asset Class Depreciation Rate | Unit 1 (Rs. Crore) | Unit 2 (Rs. Crore) |
| 1 | Goodwill | 5.28% | 0.05 | 0.05 |

- Query: The Petitioner should provide the computation for Weighted Average Interest Rate on the basis of opening loan balance of each loan and corresponding interest rate applicable for FY 2017-18 as per Regulation 7.23 of JSERC Generation Tariff Regulation, 2015.

Reply: The Petitioner has filed the petition for true-up for FY 2017-18, dated 2nd July 2021 which is subjudice before the Hon’ble Commission. The petitioner has submitted the working of weighted average interest rate with the petition, the same may be considered by the Hon’ble Commission as part of true-up only and it is also attached herewith as Annexure 3

- Query: Water Charge of Rs. 1.74 Crore is claimed under each unit in table 39 of the Petition instead of Rs. 0.22 Crore as worked out from Table 38. The Petitioner should the reasons for same and reconcile the figures.

Reply: The Hon’ble commission approved the water charges of Rs. 1.74 Crore under each unit, vide its order dated 19th February 2018. Since the Petitioner filed the petition for APR of FY 2017-18, the same charges as approved was considered. Subsequently, the Petitioner has filed the petition for true-up for FY 2017-18, 2nd July 2021, which is subjudice before the Hon’ble Commission. In the true-up petition, the Petitioner has claimed the water charges as per the books of account. The water charges liability accounted in the FY 2017-18 is Rs. 1.74 Crore out of the Ex-bus capacity of 492 MW. The Petitioner is supplying 122.85 MW power to JBVNL by virtue of PPA signed with them. Hence, the water charges attribute to JBVNL power is Rs. 0.44 Crore. At present a case is pending with Hon’ble High Court for water Charges and Water quantity. Since the matter is subjudice, the petitioner craves leave to submit any such incidental expenses incurred pursuant to such award by the Court. The Hon’ble Commission is requested to allow the same at such later submission that will be made by the petitioner.